Ball Valves

Type 15080, Type 15081 - Ball Valve full bore

Cryogenic-3-Piece-Ball Valve

Stainless steel body and topwork,

" live loaded " gland packing

" cleaned and degreased for oxygen service "

with upstream pressure relief hole

Marking acc. to EN 1626