Globe Valves

Type 03341 - Globe Valve, ANSI Flanges

Cryogenic-Globe and Globe/Check Valves, class 300

Stainless steel body and topwork,

" live loaded " gland packing

" cleaned and degreased for oxygen service "